## Overview
Title: | Energy consumption data-Diesel Generator Minigrid in Nyabiheke Refugee Camp (Rwanda)
Description: | The UNHCR office has mostly lighting loads, a few laptops and power sockets. These offices are also occupied by others such as Inkomoko. No larger continuous loads connected. The offices themselves are temporary container type structures. They sometimes use basic photography/lamination machines for a few hours when processing refugee travel documents.
Locations: | UNHCR Office
Date uploaded: | 07/15/2019
Uploaded by: | Tracy Tunge
Data collection period | 7th May 2019-15th July 2019
Phase | 1-Phase
Data Specifics | Timestamp (DD/MM/YYYY HH:MM) Voltage (Volts) Current (Amps) Power (Watts) Power factor (cos phi) Energy (Wh) Temperature (degrees celcius)
Data logger specifics | http://smart-mac.com/manual/d101en.pdf

## May
Dev ID | TIME | Voltage | Current | Power | Energy | Power Factor | Temperature
1694498875 | 2019-05-20 19:00 | 208.94 | 0.31 | 38 | 16443 | 0.56 | 36
1694498875 | 2019-05-20 18:00 | 206.18 | 0.3 | 36 | 16405 | 0.56 | 36
1694498875 | 2019-05-20 17:00 | 200.52 | 0.28 | 33 | 16369 | 0.58 | 36
1694498875 | 2019-05-20 15:00 | 211.03 | 0.5 | 86 | 16297 | 0.63 | 37
1694498875 | 2019-05-20 14:00 | 207.72 | 0.32 | 44 | 16211 | 0.64 | 40
1694498875 | 2019-05-20 13:00 | 207.76 | 0.14 | 20 | 16167 | 0.7 | 41
1694498875 | 2019-05-20 11:00 | 203.34 | 0.18 | 27 | 16127 | 0.69 | 32
1694498875 | 2019-05-20 10:00 | 203.75 | 0.19 | 26 | 16100 | 0.66 | 36
1694498875 | 2019-05-20 09:00 | 206.25 | 0.16 | 23 | 16074 | 0.66 | 33
1694498875 | 2019-05-20 08:00 | 216.03 | 0.22 | 38 | 16051 | 0.64 | 32
1694498875 | 2019-05-20 07:00 | 218.38 | 0.21 | 29 | 16013 | 0.61 | 32
1694498875 | 2019-05-20 06:00 | 223.74 | 0.01 | 2 | 15984 | 0.21 | 30
1694498875 | 2019-05-20 05:00 | 221.31 | 0 | 0 | 15982 | 0 | 29
1694498875 | 2019-05-20 04:00 | 210.4 | 0 | 0 | 15982 | 0 | 28
1694498875 | 2019-05-20 03:00 | 210.25 | 0 | 0 | 15982 | 0 | 29
1694498875 | 2019-05-20 02:00 | 210.88 | 0 | 0 | 15982 | 0 | 30
1694498875 | 2019-05-20 01:00 | 210.8 | 0 | 0 | 15982 | 0 | 30
1694498875 | 2019-05-19 23:00 | 218.7 | 0 | 0 | 15982 | 0 | 31
1694498875 | 2019-05-19 22:00 | 216.63 | 0 | 0 | 15982 | 0 | 32
1694498875 | 2019-05-19 21:00 | 218.02 | 0 | 0 | 15982 | 0 | 32
1694498875 | 2019-05-19 20:00 | 216.64 | 0 | 0 | 15982 | 0 | 32
1694498875 | 2019-05-19 19:00 | 205.16 | 0 | 0 | 15982 | 0 | 33
1694498875 | 2019-05-19 18:00 | 200.8 | 0.01 | 1 | 15982 | 0.29 | 32
1694498875 | 2019-05-19 17:00 | 200.51 | 0.03 | 3 | 15981 | 0.7 | 32
1694498875 | 2019-05-19 15:00 | 217.37 | 0.05 | 7 | 15973 | 0.64 | 35
1694498875 | 2019-05-19 14:00 | 214.67 | 0.11 | 13 | 15966 | 0.61 | 35
1694498875 | 2019-05-19 13:00 | 217.63 | 0.11 | 15 | 15953 | 0.62 | 35
1694498875 | 2019-05-19 11:00 | 203.86 | 0.06 | 8 | 15927 | 0.66 | 35
1694498875 | 2019-05-19 10:00 | 202.78 | 0.04 | 7 | 15919 | 0.69 | 33
1694498875 | 2019-05-19 09:00 | 202.35 | 0.03 | 3 | 15912 | 0.68 | 32
1694498875 | 2019-05-19 08:00 | 214.89 | 0.02 | 2 | 15909 | 0.5 | 35
1694498875 | 2019-05-19 07:00 | 216.97 | 0 | 0 | 15907 | 0 | 34
1694498875 | 2019-05-19 06:00 | 219.44 | 0 | 0 | 15907 | 0 | 31
1694498875 | 2019-05-19 05:00 | 225.27 | 0 | 0 | 15907 | 0 | 31
1694498875 | 2019-05-19 04:00 | 215.17 | 0 | 0 | 15907 | 0.07 | 30
1694498875 | 2019-05-19 03:00 | 216.33 | 0 | 2 | 15907 | 0.11 | 30
1694498875 | 2019-05-19 02:00 | 215.11 | 0 | 1 | 15905 | 0.23 | 30
1694498875 | 2019-05-19 01:00 | 215.11 | 0.01 | 1 | 15904 | 0.31 | 31
1694498875 | 2019-05-19 | 223.79 | 0 | 2 | 15903 | 0.34 | 32
1694498875 | 2019-05-18 23:00 | 223.16 | 0.02 | 3 | 15901 | 0.55 | 32
1694498875 | 2019-05-18 22:00 | 223.47 | 0.01 | 2 | 15898 | 0.39 | 32
1694498875 | 2019-05-18 21:00 | 222.06 | 0.03 | 3 | 15896 | 0.54 | 33
1694498875 | 2019-05-18 19:00 | 207.8 | 0.03 | 3 | 15888 | 0.37 | 33
1694498875 | 2019-05-18 18:00 | 204.94 | 0 | 0 | 15885 | 0 | 33
1694498875 | 2019-05-18 17:00 | 205.04 | 0 | 0 | 15885 | 0 | 32
1694498875 | 2019-05-18 16:00 | 216.47 | 0 | 0 | 15885 | 0 | 31
1694498875 | 2019-05-18 15:00 | 215.73 | 0 | 2 | 15885 | 0.29 | 33
1694498875 | 2019-05-18 14:00 | 213.89 | 0.03 | 3 | 15883 | 0.64 | 33
1694498875 | 2019-05-18 13:00 | 212.24 | 0.03 | 3 | 15880 | 0.65 | 34
1694498875 | 2019-05-18 12:00 | 206.66 | 0.03 | 3 | 15877 | 0.6 | 36
1694498875 | 2019-05-18 11:00 | 206.81 | 0.03 | 3 | 15874 | 0.56 | 42
1694498875 | 2019-05-18 10:00 | 208.26 | 0.03 | 3 | 15871 | 0.56 | 41
1694498875 | 2019-05-18 09:00 | 207.58 | 0 | 1 | 15868 | 0.08 | 39
1694498875 | 2019-05-18 08:00 | 215.05 | 0 | 0 | 15867 | 0 | 37
1694498875 | 2019-05-18 07:00 | 221.72 | 0 | 0 | 15867 | 0 | 35
1694498875 | 2019-05-18 06:00 | 224.22 | 0 | 0 | 15867 | 0 | 34
1694498875 | 2019-05-18 05:00 | 224.31 | 0 | 0 | 15867 | 0 | 33
1694498875 | 2019-05-18 04:00 | 213.32 | 0 | 1 | 15867 | 0.1 | 33
1694498875 | 2019-05-18 03:00 | 214.04 | 0 | 1 | 15866 | 0.17 | 33
1694498875 | 2019-05-18 02:00 | 214.35 | 0 | 2 | 15865 | 0.14 | 32
1694498875 | 2019-05-18 01:00 | 214.61 | 0 | 1 | 15863 | 0.19 | 33
1694498875 | 2019-05-18 | 222.24 | 0 | 2 | 15862 | 0.28 | 35
1694498875 | 2019-05-17 23:00 | 220.48 | 0 | 1 | 15860 | 0.27 | 35
1694498875 | 2019-05-17 22:00 | 222.09 | 0.02 | 3 | 15859 | 0.44 | 36
1694498875 | 2019-05-17 21:00 | 219.49 | 0.05 | 6 | 15856 | 0.54 | 37
1694498875 | 2019-05-17 20:00 | 211.68 | 0.05 | 5 | 15850 | 0.52 | 37
1694498875 | 2019-05-17 19:00 | 207 | 0.04 | 6 | 15845 | 0.52 | 38
1694498875 | 2019-05-17 18:00 | 204.27 | 0.04 | 4 | 15839 | 0.54 | 39
1694498875 | 2019-05-17 17:00 | 205.52 | 0.03 | 2 | 15835 | 0.58 | 40
1694498875 | 2019-05-17 16:00 | 214.66 | 0.03 | 3 | 15833 | 0.52 | 41
1694498875 | 2019-05-17 15:00 | 214.3 | 0.03 | 3 | 15830 | 0.61 | 39
1694498875 | 2019-05-17 14:00 | 215.62 | 0.05 | 7 | 15827 | 0.66 | 34
1694498875 | 2019-05-17 13:00 | 216.72 | 0.06 | 8 | 15820 | 0.65 | 34
1694498875 | 2019-05-17 11:00 | 202.29 | 0.1 | 16 | 15798 | 0.74 | 43
1694498875 | 2019-05-17 10:00 | 199.99 | 0.1 | 17 | 15782 | 0.73 | 39
1694498875 | 2019-05-17 09:00 | 199.28 | 0.56 | 82 | 15765 | 0.71 | 33
1694498875 | 2019-05-17 08:00 | 207.69 | 0.57 | 112 | 15683 | 0.7 | 34
1694498875 | 2019-05-17 07:00 | 215.71 | 0.08 | 11 | 15571 | 0.64 | 35
1694498875 | 2019-05-17 06:00 | 222.49 | 0.32 | 43 | 15560 | 0.59 | 34
1694498875 | 2019-05-17 05:00 | 222.62 | 0.35 | 42 | 15517 | 0.53 | 33
1694498875 | 2019-05-17 03:00 | 214.06 | 0.33 | 40 | 15435 | 0.55 | 34
1694498875 | 2019-05-17 02:00 | 214.99 | 0.33 | 41 | 15395 | 0.55 | 34
1694498875 | 2019-05-17 01:00 | 213.74 | 0.33 | 40 | 15354 | 0.55 | 35
1694498875 | 2019-05-16 23:00 | 219.52 | 0.34 | 42 | 15272 | 0.54 | 35
1694498875 | 2019-05-16 22:00 | 218.52 | 0.34 | 44 | 15230 | 0.56 | 36
1694498875 | 2019-05-16 21:00 | 220.51 | 0.35 | 43 | 15186 | 0.55 | 37
1694498875 | 2019-05-16 20:00 | 204.64 | 0.3 | 37 | 15143 | 0.59 | 38
1694498875 | 2019-05-16 19:00 | 199.66 | 0.28 | 35 | 15106 | 0.61 | 39
1694498875 | 2019-05-16 18:00 | 203.83 | 0.29 | 36 | 15071 | 0.57 | 40
1694498875 | 2019-05-16 17:00 | 204.56 | 0.3 | 35 | 15035 | 0.57 | 41
1694498875 | 2019-05-16 15:00 | 216.72 | 0.11 | 9 | 14909 | 0.33 | 43
1694498875 | 2019-05-16 14:00 | 215.94 | 0.13 | 13 | 14900 | 0.44 | 43
1694498875 | 2019-05-16 13:00 | 212.57 | 0.37 | 41 | 14887 | 0.62 | 42
1694498875 | 2019-05-16 12:00 | 205.6 | 0.28 | 41 | 14846 | 0.65 | 43
1694498875 | 2019-05-16 11:00 | 202.51 | 0.43 | 57 | 14805 | 0.63 | 41
1694498875 | 2019-05-16 10:00 | 201.68 | 0.76 | 128 | 14748 | 0.67 | 40
1694498875 | 2019-05-16 09:00 | 201.85 | 0.59 | 80 | 14620 | 0.65 | 38
1694498875 | 2019-05-16 07:00 | 219.75 | 0.35 | 59 | 14365 | 0.36 | 33
1694498875 | 2019-05-16 06:00 | 225.08 | 0.36 | 46 | 14306 | 0.55 | 32
1694498875 | 2019-05-16 05:00 | 223.99 | 0.35 | 43 | 14260 | 0.52 | 32
1694498875 | 2019-05-16 04:00 | 215.47 | 0.33 | 41 | 14217 | 0.54 | 32
1694498875 | 2019-05-16 03:00 | 215.54 | 0.33 | 40 | 14176 | 0.54 | 33
1694498875 | 2019-05-16 02:00 | 216.08 | 0.33 | 41 | 14136 | 0.54 | 34
1694498875 | 2019-05-16 01:00 | 214.81 | 0.33 | 39 | 14095 | 0.54 | 34
1694498875 | 2019-05-16 | 223.11 | 0.35 | 43 | 14056 | 0.52 | 34
1694498875 | 2019-05-15 23:00 | 223.44 | 0.35 | 43 | 14013 | 0.52 | 35
1694498875 | 2019-05-15 22:00 | 222.79 | 0.35 | 42 | 13970 | 0.52 | 36
1694498875 | 2019-05-15 21:00 | 222.52 | 0.35 | 42 | 13928 | 0.52 | 37
1694498875 | 2019-05-15 19:00 | 210.29 | 0.31 | 38 | 13847 | 0.55 | 38
1694498875 | 2019-05-15 18:00 | 206.96 | 0.3 | 37 | 13809 | 0.56 | 38
1694498875 | 2019-05-15 17:00 | 206.45 | 0.3 | 35 | 13772 | 0.56 | 39
1694498875 | 2019-05-15 16:00 | 218.53 | 0.34 | 41 | 13737 | 0.53 | 40
1694498875 | 2019-05-15 15:00 | 215.06 | 0.06 | 7 | 13696 | 0.61 | 43
1694498875 | 2019-05-15 14:00 | 215.14 | 0.09 | 11 | 13689 | 0.49 | 45
1694498875 | 2019-05-15 13:00 | 212.68 | 0.56 | 87 | 13678 | 0.62 | 44
1694498875 | 2019-05-15 12:00 | 206.27 | 0.25 | 29 | 13591 | 0.51 | 43
1694498875 | 2019-05-15 11:00 | 203.26 | 0.78 | 113 | 13562 | 0.64 | 38
1694498875 | 2019-05-15 09:00 | 200.49 | 1.25 | 177 | 13293 | 0.68 | 38
1694498875 | 2019-05-15 08:00 | 213.41 | 1.17 | 204 | 13116 | 0.79 | 35
1694498875 | 2019-05-15 07:00 | 217.51 | 0.85 | 167 | 12912 | 0.79 | 36
1694498875 | 2019-05-15 06:00 | 223.07 | 0.33 | 50 | 12745 | 0.64 | 34
1694498875 | 2019-05-15 05:00 | 220.16 | 0.28 | 45 | 12695 | 0.72 | 33
1694498875 | 2019-05-15 04:00 | 209.65 | 0.23 | 40 | 12650 | 0.79 | 33
1694498875 | 2019-05-15 03:00 | 210.26 | 0.23 | 40 | 12610 | 0.79 | 33
1694498875 | 2019-05-15 02:00 | 210.04 | 0.23 | 40 | 12570 | 0.79 | 33
1694498875 | 2019-05-15 01:00 | 211.07 | 0.23 | 35 | 12530 | 0.78 | 33
1694498875 | 2019-05-15 | 218.82 | 0.25 | 43 | 12495 | 0.76 | 34
1694498875 | 2019-05-14 23:00 | 217.21 | 0.24 | 42 | 12452 | 0.76 | 35
1694498875 | 2019-05-14 22:00 | 217.36 | 0.24 | 43 | 12410 | 0.76 | 36
1694498875 | 2019-05-14 21:00 | 215.52 | 0.24 | 41 | 12367 | 0.77 | 37
1694498875 | 2019-05-14 20:00 | 205.93 | 0.22 | 39 | 12326 | 0.8 | 37
1694498875 | 2019-05-14 19:00 | 205.67 | 0.22 | 37 | 12287 | 0.8 | 38
1694498875 | 2019-05-14 18:00 | 205.23 | 0.26 | 38 | 12250 | 0.68 | 39
1694498875 | 2019-05-14 17:00 | 207.64 | 0.28 | 38 | 12212 | 0.65 | 40
1694498875 | 2019-05-14 16:00 | 217.52 | 0.31 | 44 | 12174 | 0.63 | 41
1694498875 | 2019-05-14 15:00 | 213.19 | 0.53 | 96 | 12130 | 0.81 | 43
1694498875 | 2019-05-14 14:00 | 212.05 | 0.39 | 54 | 12034 | 0.61 | 43
1694498875 | 2019-05-14 13:00 | 210.75 | 0.62 | 82 | 11980 | 0.6 | 39
1694498875 | 2019-05-14 11:00 | 198.45 | 1.19 | 165 | 11826 | 0.64 | 36
1694498875 | 2019-05-14 10:00 | 197.65 | 1.65 | 232 | 11661 | 0.68 | 35
1694498875 | 2019-05-14 09:00 | 198.64 | 1.75 | 243 | 11429 | 0.69 | 38
1694498875 | 2019-05-14 07:00 | 218.37 | 0.73 | 127 | 11034 | 0.73 | 35
1694498875 | 2019-05-14 06:00 | 224.07 | 0.32 | 47 | 10907 | 0.61 | 33
1694498875 | 2019-05-14 05:00 | 224.85 | 0.34 | 46 | 10860 | 0.59 | 32
1694498875 | 2019-05-14 03:00 | 212.87 | 0.3 | 41 | 10772 | 0.61 | 31
1694498875 | 2019-05-14 02:00 | 214.31 | 0.31 | 42 | 10731 | 0.61 | 32
1694498875 | 2019-05-14 01:00 | 214.59 | 0.31 | 41 | 10689 | 0.61 | 32
1694498875 | 2019-05-14 | 223.37 | 0.33 | 46 | 10648 | 0.58 | 33
1694498875 | 2019-05-13 23:00 | 221.71 | 0.33 | 44 | 10602 | 0.59 | 33
1694498875 | 2019-05-13 22:00 | 217.88 | 0.31 | 43 | 10558 | 0.6 | 34
1694498875 | 2019-05-13 21:00 | 223.16 | 0.33 | 45 | 10515 | 0.59 | 34
1694498875 | 2019-05-13 20:00 | 212.46 | 0.3 | 42 | 10470 | 0.62 | 35
1694498875 | 2019-05-13 19:00 | 209.54 | 0.3 | 41 | 10428 | 0.64 | 36
1694498875 | 2019-05-13 18:00 | 207.99 | 0.3 | 43 | 10387 | 0.67 | 37
1694498875 | 2019-05-13 17:00 | 205.14 | 0.28 | 41 | 10344 | 0.67 | 38
1694498875 | 2019-05-13 16:00 | 216.6 | 0.31 | 42 | 10303 | 0.59 | 39
1694498875 | 2019-05-13 15:00 | 216.41 | 0.37 | 48 | 10261 | 0.57 | 39
1694498875 | 2019-05-13 14:00 | 215.26 | 0.59 | 81 | 10213 | 0.61 | 41
1694498875 | 2019-05-13 13:00 | 202.7 | 0.83 | 136 | 10132 | 0.76 | 41
1694498875 | 2019-05-13 12:00 | 206.38 | 0.44 | 52 | 9996 | 0.56 | 34
1694498875 | 2019-05-13 11:00 | 205.5 | 0.61 | 94 | 9944 | 0.72 | 32
1694498875 | 2019-05-13 10:00 | 203.15 | 0.36 | 52 | 9850 | 0.69 | 33
1694498875 | 2019-05-13 09:00 | 195.16 | 0.83 | 122 | 9798 | 0.71 | 35
1694498875 | 2019-05-13 08:00 | 208.33 | 0.68 | 86 | 9676 | 0.64 | 35
1694498875 | 2019-05-13 07:00 | 219.56 | 0.4 | 58 | 9590 | 0.61 | 34
1694498875 | 2019-05-10 16:00 | 218.03 | 0.08 | 8 | 9145 | 0.47 | 35
1694498875 | 2019-05-10 15:00 | 216.79 | 0.09 | 11 | 9137 | 0.5 | 36
1694498875 | 2019-05-10 14:00 | 219.05 | 0.24 | 25 | 9126 | 0.46 | 36
1694498875 | 2019-05-10 13:00 | 220.66 | 0.26 | 31 | 9101 | 0.52 | 36
1694498875 | 2019-05-10 12:00 | 212.03 | 0.22 | 31 | 9070 | 0.64 | 38
1694498875 | 2019-05-10 11:00 | 203.51 | 0.67 | 108 | 9039 | 0.74 | 41
1694498875 | 2019-05-10 10:00 | 194.08 | 1.37 | 243 | 8931 | 0.8 | 39
1694498875 | 2019-05-10 09:00 | 198.4 | 1.35 | 242 | 8688 | 0.84 | 38
1694498875 | 2019-05-10 08:00 | 209.73 | 2.19 | 437 | 8446 | 0.92 | 36
1694498875 | 2019-05-10 07:00 | 212.86 | 0.41 | 74 | 8009 | 0.67 | 35
1694498875 | 2019-05-10 06:00 | 220.63 | 0.54 | 63 | 7935 | 0.51 | 36
1694498875 | 2019-05-10 05:00 | 222.39 | 0.63 | 68 | 7872 | 0.46 | 35
1694498875 | 2019-05-10 04:00 | 214.05 | 0.6 | 61 | 7804 | 0.46 | 35
1694498875 | 2019-05-10 03:00 | 214.49 | 0.6 | 62 | 7743 | 0.46 | 36
1694498875 | 2019-05-10 02:00 | 215.19 | 0.6 | 62 | 7681 | 0.46 | 37
1694498875 | 2019-05-10 01:00 | 216.02 | 0.61 | 54 | 7619 | 0.46 | 36
1694498875 | 2019-05-10 | 221.95 | 0.63 | 66 | 7565 | 0.45 | 37
1694498875 | 2019-05-09 23:00 | 219.68 | 0.62 | 64 | 7499 | 0.45 | 37
1694498875 | 2019-05-09 22:00 | 219.61 | 0.62 | 64 | 7435 | 0.45 | 38
1694498875 | 2019-05-09 21:00 | 217.45 | 0.6 | 61 | 7371 | 0.45 | 38
1694498875 | 2019-05-09 20:00 | 207.22 | 0.55 | 56 | 7310 | 0.47 | 39
1694498875 | 2019-05-09 19:00 | 207.34 | 0.56 | 57 | 7254 | 0.48 | 40
1694498875 | 2019-05-09 18:00 | 207.72 | 0.56 | 58 | 7197 | 0.48 | 40
1694498875 | 2019-05-09 17:00 | 210.03 | 0.58 | 59 | 7139 | 0.47 | 42
1694498875 | 2019-05-09 16:00 | 213.06 | 0.58 | 60 | 7080 | 0.46 | 43
1694498875 | 2019-05-09 15:00 | 206.78 | 0.52 | 69 | 7020 | 0.57 | 44
1694498875 | 2019-05-09 14:00 | 202.97 | 0.96 | 151 | 6951 | 0.66 | 46
1694498875 | 2019-05-09 13:00 | 206.05 | 0.95 | 133 | 6800 | 0.65 | 45
1694498875 | 2019-05-09 12:00 | 205.71 | 0.9 | 135 | 6667 | 0.72 | 41
1694498875 | 2019-05-09 11:00 | 200.87 | 2.36 | 412 | 6532 | 0.83 | 41
1694498875 | 2019-05-09 10:00 | 200.56 | 3.06 | 568 | 6120 | 0.9 | 41
1694498875 | 2019-05-09 09:00 | 203.16 | 2.5 | 461 | 5552 | 0.86 | 39
1694498875 | 2019-05-09 07:00 | 218.04 | 1.27 | 213 | 4571 | 0.67 | 35
1694498875 | 2019-05-09 06:00 | 224.44 | 0.34 | 48 | 4358 | 0.61 | 34
1694498875 | 2019-05-09 05:00 | 224.71 | 0.32 | 46 | 4310 | 0.6 | 32
1694498875 | 2019-05-09 04:00 | 214.06 | 0.3 | 42 | 4264 | 0.63 | 32
1694498875 | 2019-05-09 03:00 | 215.37 | 0.3 | 42 | 4222 | 0.63 | 32
1694498875 | 2019-05-09 02:00 | 215.46 | 0.3 | 43 | 4180 | 0.63 | 33
1694498875 | 2019-05-09 01:00 | 215.57 | 0.3 | 43 | 4137 | 0.63 | 33
1694498875 | 2019-05-09 | 223.61 | 0.32 | 46 | 4094 | 0.61 | 34
1694498875 | 2019-05-08 23:00 | 223.7 | 0.32 | 47 | 4048 | 0.62 | 34
1694498875 | 2019-05-08 22:00 | 221.86 | 0.32 | 49 | 4001 | 0.65 | 34
1694498875 | 2019-05-08 21:00 | 219.6 | 0.33 | 51 | 3952 | 0.68 | 35
1694498875 | 2019-05-08 20:00 | 210.2 | 0.3 | 47 | 3901 | 0.7 | 36
1694498875 | 2019-05-08 19:00 | 207.57 | 0.28 | 43 | 3854 | 0.7 | 36
1694498875 | 2019-05-08 18:00 | 209.13 | 0.28 | 41 | 3811 | 0.66 | 37
1694498875 | 2019-05-08 17:00 | 213.5 | 0.29 | 42 | 3770 | 0.65 | 39
1694498875 | 2019-05-08 16:00 | 217.88 | 0.31 | 46 | 3728 | 0.64 | 40
1694498875 | 2019-05-08 15:00 | 213.79 | 1 | 153 | 3682 | 0.67 | 41
1694498875 | 2019-05-08 14:00 | 208.66 | 0.62 | 83 | 3529 | 0.61 | 44
1694498875 | 2019-05-08 13:00 | 197.39 | 0.69 | 98 | 3446 | 0.64 | 46
1694498875 | 2019-05-08 12:00 | 199.06 | 0.86 | 113 | 3348 | 0.65 | 43
1694498875 | 2019-05-08 11:00 | 193.04 | 2.84 | 554 | 3235 | 0.9 | 40
1694498875 | 2019-05-08 10:00 | 190.02 | 2.78 | 486 | 2681 | 0.89 | 40
1694498875 | 2019-05-08 09:00 | 192.03 | 2.7 | 475 | 2195 | 0.89 | 38
1694498875 | 2019-05-08 08:00 | 202.56 | 2.78 | 515 | 1720 | 0.88 | 36
1694498875 | 2019-05-08 07:00 | 215.25 | 1.3 | 241 | 1205 | 0.79 | 35
1694498875 | 2019-05-08 06:00 | 225.65 | 0.09 | 12 | 964 | 0.42 | 33
1694498875 | 2019-05-08 05:00 | 226.11 | 0.1 | 13 | 952 | 0.33 | 32
1694498875 | 2019-05-08 03:00 | 214.98 | 0.3 | 42 | 898 | 0.61 | 33
1694498875 | 2019-05-08 02:00 | 215 | 0.3 | 42 | 856 | 0.61 | 33
1694498875 | 2019-05-08 01:00 | 214.35 | 0.3 | 41 | 814 | 0.62 | 33
1694498875 | 2019-05-07 23:00 | 220.82 | 0.32 | 43 | 729 | 0.6 | 35
1694498875 | 2019-05-07 22:00 | 220.95 | 0.32 | 44 | 686 | 0.6 | 36
1694498875 | 2019-05-07 21:00 | 219.09 | 0.31 | 42 | 642 | 0.6 | 36
1694498875 | 2019-05-07 19:00 | 204.85 | 0.28 | 42 | 560 | 0.69 | 38
1694498875 | 2019-05-07 18:00 | 203.76 | 0.27 | 39 | 518 | 0.67 | 39
1694498875 | 2019-05-07 17:00 | 205.88 | 0.28 | 40 | 479 | 0.67 | 40
1694498875 | 2019-05-07 15:00 | 213.72 | 0.11 | 10 | 398 | 0.37 | 40
1694498875 | 2019-05-07 14:00 | 212.41 | 0.77 | 106 | 388 | 0.63 | 40
1694498875 | 2019-05-07 13:00 | 217.14 | 0.64 | 280 | 282 | 0.59 | 39
1694498875 | 2019-05-07 12:00 | 208.67 | 1 | 2 | 2 | 0.65 | 30

## June
Dev ID | TIME | Voltage | Current | Power | Energy | Power Factor | Temperature
1694498875 | 2019-06-30 | 219.8 | 0.43 | 73 | 72465 | 0.73 | 35
1694498875 | 2019-06-29 23:00 | 219.47 | 0.44 | 75 | 72392 | 0.74 | 37
1694498875 | 2019-06-29 22:00 | 219.71 | 0.45 | 76 | 72317 | 0.74 | 37
1694498875 | 2019-06-29 21:00 | 219.17 | 0.24 | 30 | 72241 | 0.54 | 37
1694498875 | 2019-06-29 20:00 | 219.66 | 0.23 | 28 | 72211 | 0.53 | 37
1694498875 | 2019-06-29 19:00 | 221.89 | 0.23 | 28 | 72183 | 0.52 | 38
1694498875 | 2019-06-29 18:00 | 222.49 | 0.23 | 28 | 72155 | 0.52 | 39
1694498875 | 2019-06-29 17:00 | 222.47 | 0.23 | 28 | 72127 | 0.52 | 40
1694498875 | 2019-06-29 16:00 | 234.47 | 0.14 | 17 | 72099 | 0.49 | 42
1694498875 | 2019-06-29 15:00 | 233.33 | 0.14 | 18 | 72082 | 0.51 | 43
1694498875 | 2019-06-29 14:00 | 235.08 | 0.1 | 8 | 72064 | 0.28 | 44
1694498875 | 2019-06-29 13:00 | 233.96 | 0.1 | 8 | 72056 | 0.33 | 43
1694498875 | 2019-06-29 12:00 | 228.58 | 0.1 | 9 | 72048 | 0.33 | 42
1694498875 | 2019-06-29 11:00 | 227.99 | 0.05 | 1 | 72039 | 0.06 | 41
1694498875 | 2019-06-29 10:00 | 228.8 | 0.05 | 1 | 72038 | 0.06 | 40
1694498875 | 2019-06-29 09:00 | 229.59 | 0.07 | 2 | 72037 | 0.12 | 38
1694498875 | 2019-06-29 08:00 | 231.18 | 0.08 | 5 | 72035 | 0.27 | 34
1694498875 | 2019-06-29 07:00 | 231.18 | 0.08 | 5 | 72030 | 0.27 | 34
1694498875 | 2019-06-29 06:00 | 231.09 | 0.08 | 6 | 72025 | 0.27 | 32
1694498875 | 2019-06-29 05:00 | 228.79 | 0.26 | 32 | 72019 | 0.45 | 32
1694498875 | 2019-06-29 04:00 | 219.92 | 0.33 | 41 | 71987 | 0.54 | 33
1694498875 | 2019-06-29 03:00 | 219.51 | 0.34 | 42 | 71946 | 0.54 | 32
1694498875 | 2019-06-29 02:00 | 218.86 | 0.34 | 42 | 71904 | 0.54 | 32
1694498875 | 2019-06-29 01:00 | 220.07 | 0.34 | 41 | 71862 | 0.54 | 31
1694498875 | 2019-06-29 | 223.29 | 0.34 | 43 | 71821 | 0.54 | 31
1694498875 | 2019-06-28 23:00 | 223.42 | 0.34 | 42 | 71778 | 0.54 | 31
1694498875 | 2019-06-28 22:00 | 223.81 | 0.33 | 43 | 71736 | 0.54 | 32
1694498875 | 2019-06-28 21:00 | 222.56 | 0.33 | 41 | 71693 | 0.54 | 32
1694498875 | 2019-06-28 20:00 | 219.15 | 0.32 | 41 | 71652 | 0.55 | 36
1694498875 | 2019-06-28 19:00 | 220.57 | 0.32 | 40 | 71611 | 0.54 | 39
1694498875 | 2019-06-28 18:00 | 220.37 | 0.47 | 70 | 71571 | 0.65 | 40
1694498875 | 2019-06-28 17:00 | 220.45 | 0.61 | 91 | 71501 | 0.68 | 34
1694498875 | 2019-06-28 16:00 | 236.61 | 0.68 | 3 | 71410 | 0.65 | 20
1694498875 | 2019-06-26 13:00 | 205.06 | 0.48 | 65 | 71374 | 0.62 | 32
1694498875 | 2019-06-26 12:00 | 192.89 | 0.43 | 25 | 71309 | 0.67 | 38
1694498875 | 2019-06-26 11:00 | 192.89 | 0.43 | 56 | 71284 | 0.67 | 38
1694498875 | 2019-06-26 10:00 | 190.75 | 0.47 | 61 | 71228 | 0.66 | 37
1694498875 | 2019-06-26 09:00 | 192.81 | 0.35 | 49 | 71167 | 0.72 | 32
1694498875 | 2019-06-26 08:00 | 213.8 | 0.11 | 24 | 71118 | 0.59 | 33
1694498875 | 2019-06-26 07:00 | 213.8 | 0.11 | 17 | 71094 | 0.59 | 33
1694498875 | 2019-06-26 06:00 | 220.9 | 0.02 | 5 | 71077 | 0.42 | 33
1694498875 | 2019-06-26 05:00 | 225.46 | 0.23 | 29 | 71072 | 0.1 | 32
1694498875 | 2019-06-26 04:00 | 214.56 | 1.43 | 183 | 71043 | 0.57 | 33
1694498875 | 2019-06-26 03:00 | 213.75 | 1.42 | 181 | 70860 | 0.58 | 33
1694498875 | 2019-06-26 02:00 | 212.66 | 1.41 | 181 | 70679 | 0.58 | 33
1694498875 | 2019-06-26 01:00 | 215.17 | 1.43 | 179 | 70498 | 0.58 | 34
1694498875 | 2019-06-26 | 222 | 1.5 | 194 | 70319 | 0.56 | 34
1694498875 | 2019-06-25 23:00 | 221.7 | 1.5 | 193 | 70125 | 0.56 | 34
1694498875 | 2019-06-25 22:00 | 220.58 | 1.48 | 191 | 69932 | 0.56 | 35
1694498875 | 2019-06-25 21:00 | 217.94 | 1.45 | 187 | 69741 | 0.57 | 36
1694498875 | 2019-06-25 20:00 | 210.6 | 1.38 | 176 | 69554 | 0.58 | 36
1694498875 | 2019-06-25 19:00 | 205.89 | 1.34 | 170 | 69378 | 0.6 | 36
1694498875 | 2019-06-25 18:00 | 201.76 | 1.27 | 160 | 69208 | 0.6 | 36
1694498875 | 2019-06-25 17:00 | 200.84 | 1.25 | 152 | 69048 | 0.59 | 37
1694498875 | 2019-06-25 16:00 | 211.27 | 1.34 | 168 | 68896 | 0.57 | 38
1694498875 | 2019-06-25 15:00 | 209.62 | 0.82 | 106 | 68728 | 0.62 | 34
1694498875 | 2019-06-25 14:00 | 191.07 | 0.22 | 30 | 68622 | 0.65 | 38
1694498875 | 2019-06-25 13:00 | 201.46 | 0.08 | 10 | 68592 | 0.59 | 41
1694498875 | 2019-06-25 12:00 | 177.58 | 0.4 | 21 | 68582 | 0.65 | 39
1694498875 | 2019-06-25 11:00 | 177.58 | 0.4 | 46 | 68561 | 0.65 | 39
1694498875 | 2019-06-25 10:00 | 191.91 | 0.43 | 62 | 68515 | 0.72 | 36
1694498875 | 2019-06-25 09:00 | 193.25 | 0.72 | 113 | 68453 | 0.79 | 31
1694498875 | 2019-06-25 07:00 | 210.23 | 0.35 | 57 | 68206 | 0.71 | 33
1694498875 | 2019-06-25 06:00 | 221.07 | 0.15 | 22 | 68149 | 0.63 | 33
1694498875 | 2019-06-25 05:00 | 221.86 | 0.18 | 25 | 68127 | 0.6 | 33

## July
Dev ID | TIME | Voltage | Current | Power | Energy | Power Factor | Temperature
1694498875 | 2019-07-15 | 221.44 | 1.18 | 155 | 97059 | 0.58 | 32
1694498875 | 2019-07-14 23:00 | 221.29 | 1.17 | 156 | 96904 | 0.58 | 33
1694498875 | 2019-07-14 22:00 | 221.71 | 1.17 | 158 | 96748 | 0.58 | 34
1694498875 | 2019-07-14 21:00 | 221.47 | 1.17 | 159 | 96590 | 0.59 | 35
1694498875 | 2019-07-14 20:00 | 221.08 | 1.17 | 159 | 96431 | 0.59 | 35
1694498875 | 2019-07-14 19:00 | 222.54 | 1.19 | 164 | 96272 | 0.59 | 36
1694498875 | 2019-07-14 18:00 | 223.16 | 1.19 | 163 | 96108 | 0.59 | 37
1694498875 | 2019-07-14 17:00 | 225.67 | 1.2 | 164 | 95945 | 0.58 | 38
1694498875 | 2019-07-14 16:00 | 229.52 | 1.23 | 171 | 95781 | 0.58 | 39
1694498875 | 2019-07-14 15:00 | 231.47 | 1.11 | 153 | 95610 | 0.57 | 40
1694498875 | 2019-07-14 14:00 | 236.3 | 0.04 | 6 | 95457 | 0.54 | 40
1694498875 | 2019-07-14 13:00 | 233.75 | 0.01 | 2 | 95451 | 0.41 | 39
1694498875 | 2019-07-14 12:00 | 232.86 | 0.03 | 3 | 95449 | 0.55 | 38
1694498875 | 2019-07-14 11:00 | 237.8 | 0.03 | 4 | 95446 | 0.6 | 38
1694498875 | 2019-07-14 10:00 | 235.49 | 0.03 | 5 | 95442 | 0.64 | 36
1694498875 | 2019-07-14 09:00 | 234.75 | 0.05 | 7 | 95437 | 0.6 | 33
1694498875 | 2019-07-14 08:00 | 229.46 | 0.06 | 8 | 95430 | 0.59 | 31
1694498875 | 2019-07-14 07:00 | 236.79 | 0.06 | 8 | 95422 | 0.55 | 29
1694498875 | 2019-07-14 06:00 | 234.29 | 0.04 | 5 | 95414 | 0.55 | 28
1694498875 | 2019-07-14 05:00 | 232.03 | 0.03 | 6 | 95409 | 0.4 | 27
1694498875 | 2019-07-14 04:00 | 226.49 | 0.1 | 14 | 95403 | 0.59 | 27
1694498875 | 2019-07-14 03:00 | 227.1 | 0.1 | 14 | 95389 | 0.58 | 28
1694498875 | 2019-07-14 02:00 | 227.21 | 0.1 | 14 | 95375 | 0.59 | 28
1694498875 | 2019-07-14 01:00 | 227.28 | 0.1 | 15 | 95361 | 0.58 | 29
1694498875 | 2019-07-14 | 227.41 | 0.1 | 14 | 95346 | 0.58 | 29
1694498875 | 2019-07-13 23:00 | 227.83 | 0.1 | 14 | 95332 | 0.59 | 30
1694498875 | 2019-07-13 22:00 | 227.44 | 0.1 | 14 | 95318 | 0.59 | 30
1694498875 | 2019-07-13 21:00 | 227.58 | 0.1 | 14 | 95304 | 0.59 | 29
1694498875 | 2019-07-13 20:00 | 227.13 | 0.1 | 15 | 95290 | 0.59 | 29
1694498875 | 2019-07-13 19:00 | 228.13 | 0.1 | 14 | 95275 | 0.6 | 29
1694498875 | 2019-07-13 18:00 | 229.03 | 0.1 | 14 | 95261 | 0.59 | 29
1694498875 | 2019-07-13 17:00 | 230.54 | 0.26 | 29 | 95247 | 0.46 | 28
1694498875 | 2019-07-13 16:00 | 233.11 | 0.29 | 9 | 95218 | 0.43 | 17
1694498875 | 2019-07-13 15:00 | 232.8 | 0.05 | 4 | 95209 | 0.55 | 31
1694498875 | 2019-07-13 14:00 | 232.8 | 0.05 | 6 | 95205 | 0.55 | 31
1694498875 | 2019-07-13 13:00 | 233.16 | 0.07 | 7 | 95199 | 0.49 | 30
1694498875 | 2019-07-13 12:00 | 232.98 | 0.05 | 7 | 95192 | 0.49 | 29
1694498875 | 2019-07-13 11:00 | 228.42 | 0.05 | 6 | 95185 | 0.5 | 32
1694498875 | 2019-07-13 10:00 | 233.22 | 0.02 | 3 | 95179 | 0.13 | 36
1694498875 | 2019-07-13 09:00 | 234.15 | 0 | 0 | 95176 | 0 | 39
1694498875 | 2019-07-13 08:00 | 231.1 | 0 | 0 | 95176 | 0 | 36
1694498875 | 2019-07-13 07:00 | 231.87 | 0 | 0 | 95176 | 0 | 34
1694498875 | 2019-07-13 06:00 | 228.4 | 0.8 | 92 | 95176 | 0.38 | 25
1694498875 | 2019-07-13 05:00 | 223.65 | 1.14 | 2 | 95084 | 0.53 | 33
1694498875 | 2019-07-13 03:00 | 223.74 | 1.14 | 142 | 94941 | 0.53 | 34
1694498875 | 2019-07-13 02:00 | 223.62 | 1.14 | 141 | 94799 | 0.53 | 34
1694498875 | 2019-07-13 01:00 | 223.84 | 1.14 | 141 | 94658 | 0.53 | 34
1694498875 | 2019-07-13 | 223.64 | 1.14 | 141 | 94517 | 0.53 | 35
1694498875 | 2019-07-12 23:00 | 223.64 | 1.14 | 141 | 94376 | 0.53 | 35
1694498875 | 2019-07-12 22:00 | 223.05 | 1.13 | 141 | 94235 | 0.54 | 36
1694498875 | 2019-07-12 21:00 | 222.58 | 1.13 | 140 | 94094 | 0.54 | 36
1694498875 | 2019-07-12 20:00 | 222.79 | 1.13 | 140 | 93954 | 0.54 | 37
1694498875 | 2019-07-12 19:00 | 223.83 | 1.14 | 143 | 93814 | 0.54 | 37
1694498875 | 2019-07-12 18:00 | 224.33 | 1.15 | 144 | 93671 | 0.54 | 38
1694498875 | 2019-07-12 17:00 | 224.8 | 1.15 | 145 | 93527 | 0.54 | 39
1694498875 | 2019-07-12 16:00 | 236.55 | 0.36 | 49 | 93382 | 0.61 | 40
1694498875 | 2019-07-12 15:00 | 236.28 | 0.13 | 22 | 93333 | 0.66 | 40
1694498875 | 2019-07-12 14:00 | 217.67 | 0.05 | 8 | 93311 | 0.67 | 41
1694498875 | 2019-07-12 13:00 | 221.12 | 0.04 | 4 | 93303 | 0.63 | 39
1694498875 | 2019-07-12 12:00 | 216.15 | 0.04 | 6 | 93299 | 0.63 | 35
1694498875 | 2019-07-12 11:00 | 226.36 | 0.04 | 5 | 93293 | 0.67 | 34
1694498875 | 2019-07-12 10:00 | 227.53 | 0.1 | 14 | 93288 | 0.69 | 32
1694498875 | 2019-07-12 09:00 | 227.53 | 0.1 | 15 | 93274 | 0.69 | 32
1694498875 | 2019-07-12 08:00 | 230.15 | 0.1 | 18 | 93259 | 0.71 | 30
1694498875 | 2019-07-12 07:00 | 228.84 | 0.08 | 14 | 93241 | 0.68 | 35
1694498875 | 2019-07-12 06:00 | 226.4 | 0.06 | 9 | 93227 | 0.67 | 33
1694498875 | 2019-07-12 05:00 | 231.83 | 0.09 | 14 | 93218 | 0.62 | 33
1694498875 | 2019-07-12 04:00 | 227.5 | 0.1 | 14 | 93204 | 0.58 | 33
1694498875 | 2019-07-12 03:00 | 224.69 | 0.1 | 14 | 93190 | 0.58 | 33
1694498875 | 2019-07-12 02:00 | 225.2 | 0.1 | 14 | 93176 | 0.59 | 33
1694498875 | 2019-07-12 01:00 | 224.59 | 0.1 | 14 | 93162 | 0.59 | 34
1694498875 | 2019-07-11 23:00 | 227.98 | 0.1 | 15 | 93134 | 0.59 | 36
1694498875 | 2019-07-11 22:00 | 227.78 | 0.1 | 14 | 93119 | 0.58 | 37
1694498875 | 2019-07-11 21:00 | 227.38 | 0.1 | 13 | 93105 | 0.57 | 38
1694498875 | 2019-07-11 20:00 | 224.98 | 0.1 | 14 | 93092 | 0.57 | 38
1694498875 | 2019-07-11 19:00 | 225.66 | 0.1 | 14 | 93078 | 0.58 | 39
1694498875 | 2019-07-11 18:00 | 228.21 | 0.1 | 14 | 93064 | 0.58 | 40
1694498875 | 2019-07-11 17:00 | 230.21 | 0.1 | 14 | 93050 | 0.58 | 41
1694498875 | 2019-07-11 16:00 | 235.11 | 0.09 | 16 | 93036 | 0.57 | 41
1694498875 | 2019-07-11 15:00 | 235.11 | 0.09 | 13 | 93020 | 0.57 | 41
1694498875 | 2019-07-11 14:00 | 234.58 | 0.19 | 29 | 93007 | 0.61 | 42
1694498875 | 2019-07-11 13:00 | 228.76 | 0.38 | 55 | 92978 | 0.62 | 40
1694498875 | 2019-07-11 12:00 | 229.53 | 0.54 | 47 | 92923 | 0.69 | 37
1694498875 | 2019-07-11 11:00 | 229.53 | 0.54 | 88 | 92876 | 0.69 | 37
1694498875 | 2019-07-11 10:00 | 224.61 | 0.42 | 72 | 92788 | 0.71 | 35
1694498875 | 2019-07-11 09:00 | 230.24 | 0.3 | 52 | 92716 | 0.73 | 31
1694498875 | 2019-07-11 08:00 | 226.4 | 0.26 | 42 | 92664 | 0.67 | 32
1694498875 | 2019-07-11 07:00 | 225.54 | 0.21 | 34 | 92622 | 0.66 | 34
1694498875 | 2019-07-11 06:00 | 224.89 | 0.03 | 5 | 92588 | 0.59 | 33
1694498875 | 2019-07-11 05:00 | 227.48 | 0.73 | 112 | 92583 | 0.57 | 33
1694498875 | 2019-07-11 04:00 | 219.31 | 1.48 | 190 | 92471 | 0.56 | 33
1694498875 | 2019-07-11 03:00 | 219.79 | 1.48 | 190 | 92281 | 0.56 | 34
1694498875 | 2019-07-11 02:00 | 220.07 | 1.49 | 190 | 92091 | 0.56 | 33
1694498875 | 2019-07-11 01:00 | 219.78 | 1.48 | 190 | 91901 | 0.56 | 34
1694498875 | 2019-07-11 | 222.91 | 1.52 | 195 | 91711 | 0.56 | 35
1694498875 | 2019-07-10 23:00 | 222.68 | 1.52 | 196 | 91516 | 0.56 | 35
1694498875 | 2019-07-10 22:00 | 222.82 | 1.52 | 196 | 91320 | 0.56 | 34
1694498875 | 2019-07-10 21:00 | 222.89 | 1.52 | 199 | 91124 | 0.57 | 35
1694498875 | 2019-07-10 20:00 | 227.21 | 1.58 | 193 | 90925 | 0.56 | 37
1694498875 | 2019-07-10 19:00 | 219.88 | 1.49 | 197 | 90732 | 0.58 | 37
1694498875 | 2019-07-10 18:00 | 221.71 | 1.46 | 191 | 90535 | 0.57 | 38
1694498875 | 2019-07-10 17:00 | 223.61 | 1.46 | 186 | 90344 | 0.55 | 40
1694498875 | 2019-07-10 15:00 | 235.13 | 0.19 | 29 | 90059 | 0.61 | 42
1694498875 | 2019-07-10 14:00 | 232.27 | 0.25 | 37 | 90030 | 0.63 | 42
1694498875 | 2019-07-10 13:00 | 225.8 | 0.52 | 77 | 89993 | 0.66 | 42
1694498875 | 2019-07-10 12:00 | 219.46 | 0.46 | 66 | 89916 | 0.64 | 40
1694498875 | 2019-07-10 11:00 | 230.36 | 0.52 | 80 | 89850 | 0.65 | 38
1694498875 | 2019-07-10 10:00 | 226.93 | 0.3 | 48 | 89770 | 0.65 | 35
1694498875 | 2019-07-10 09:00 | 226.23 | 0.43 | 63 | 89722 | 0.61 | 37
1694498875 | 2019-07-10 08:00 | 234.69 | 0.59 | 98 | 89659 | 0.68 | 35
1694498875 | 2019-07-10 07:00 | 228.16 | 0.38 | 58 | 89561 | 0.62 | 33
1694498875 | 2019-07-10 06:00 | 231.15 | 0.01 | 3 | 89503 | 0.64 | 31
1694498875 | 2019-07-10 05:00 | 228.67 | 0.04 | 5 | 89500 | 0.2 | 30
1694498875 | 2019-07-10 04:00 | 221.85 | 0.21 | 28 | 89495 | 0.58 | 31
1694498875 | 2019-07-10 03:00 | 222.37 | 0.21 | 28 | 89467 | 0.58 | 30
1694498875 | 2019-07-10 02:00 | 222.58 | 0.21 | 29 | 89439 | 0.58 | 31
1694498875 | 2019-07-10 01:00 | 221.54 | 0.2 | 27 | 89410 | 0.58 | 32
1694498875 | 2019-07-10 | 225.69 | 0.21 | 28 | 89383 | 0.58 | 32
1694498875 | 2019-07-09 23:00 | 225.87 | 0.21 | 29 | 89355 | 0.58 | 33
1694498875 | 2019-07-09 22:00 | 225.43 | 0.21 | 28 | 89326 | 0.59 | 34
1694498875 | 2019-07-09 21:00 | 224.81 | 0.2 | 28 | 89298 | 0.59 | 34
1694498875 | 2019-07-09 19:00 | 222.37 | 0.21 | 28 | 89243 | 0.58 | 34
1694498875 | 2019-07-09 18:00 | 223.78 | 0.21 | 28 | 89215 | 0.58 | 34
1694498875 | 2019-07-09 17:00 | 225.28 | 0.2 | 27 | 89187 | 0.58 | 34
1694498875 | 2019-07-09 16:00 | 229.58 | 0.23 | 25 | 89160 | 0.61 | 29
1694498875 | 2019-07-09 15:00 | 229.58 | 0.23 | 34 | 89135 | 0.61 | 29
1694498875 | 2019-07-09 14:00 | 230.85 | 0.27 | 42 | 89101 | 0.63 | 31
1694498875 | 2019-07-09 13:00 | 235.32 | 0.15 | 20 | 89059 | 0.54 | 39
1694498875 | 2019-07-09 12:00 | 232.94 | 0.12 | 13 | 89039 | 0.46 | 43
1694498875 | 2019-07-09 11:00 | 231.68 | 0.23 | 34 | 89026 | 0.57 | 43
1694498875 | 2019-07-09 10:00 | 231.34 | 0.36 | 57 | 88992 | 0.65 | 41
1694498875 | 2019-07-09 09:00 | 231.98 | 0.62 | 95 | 88935 | 0.66 | 40
1694498875 | 2019-07-09 08:00 | 231.75 | 0.31 | 49 | 88840 | 0.62 | 37
1694498875 | 2019-07-09 07:00 | 226.86 | 0.18 | 23 | 88791 | 0.53 | 36
1694498875 | 2019-07-09 06:00 | 230.16 | 0.03 | 4 | 88768 | 0.5 | 34
1694498875 | 2019-07-09 05:00 | 230.07 | 0.03 | 3 | 88764 | 0.51 | 34
1694498875 | 2019-07-09 04:00 | 223.6 | 1.14 | 146 | 88761 | 0.54 | 34
1694498875 | 2019-07-09 03:00 | 223.07 | 1.52 | 197 | 88615 | 0.56 | 35
1694498875 | 2019-07-09 02:00 | 222.97 | 1.51 | 197 | 88418 | 0.56 | 35
1694498875 | 2019-07-09 01:00 | 223.25 | 1.52 | 195 | 88221 | 0.56 | 36
1694498875 | 2019-07-09 | 224.05 | 1.53 | 199 | 88026 | 0.56 | 36
1694498875 | 2019-07-08 23:00 | 224.33 | 1.53 | 199 | 87827 | 0.56 | 36
1694498875 | 2019-07-08 22:00 | 223.35 | 1.52 | 198 | 87628 | 0.56 | 37
1694498875 | 2019-07-08 21:00 | 223.66 | 1.52 | 198 | 87430 | 0.56 | 38
1694498875 | 2019-07-08 20:00 | 223.32 | 1.52 | 198 | 87232 | 0.56 | 39
1694498875 | 2019-07-08 19:00 | 223.92 | 1.53 | 199 | 87034 | 0.56 | 40
1694498875 | 2019-07-08 18:00 | 225.54 | 1.55 | 202 | 86835 | 0.56 | 41
1694498875 | 2019-07-08 17:00 | 228.87 | 1.59 | 209 | 86633 | 0.56 | 42
1694498875 | 2019-07-08 16:00 | 227.66 | 1.58 | 205 | 86424 | 0.55 | 44
1694498875 | 2019-07-08 15:00 | 223.97 | 0.42 | 58 | 86219 | 0.55 | 40
1694498875 | 2019-07-08 14:00 | 225.94 | 0.32 | 46 | 86161 | 0.61 | 39
1694498875 | 2019-07-08 13:00 | 226.32 | 0.15 | 18 | 86115 | 0.52 | 42
1694498875 | 2019-07-08 12:00 | 233.41 | 0.14 | 21 | 86097 | 0.61 | 37
1694498875 | 2019-07-08 11:00 | 231.77 | 0.34 | 57 | 86076 | 0.7 | 35
1694498875 | 2019-07-08 10:00 | 233.88 | 0.37 | 70 | 86019 | 0.69 | 35
1694498875 | 2019-07-08 09:00 | 230.37 | 0.18 | 30 | 85949 | 0.69 | 38
1694498875 | 2019-07-08 08:00 | 221.7 | 0.16 | 25 | 85919 | 0.65 | 36
1694498875 | 2019-07-08 07:00 | 225.99 | 0.13 | 18 | 85894 | 0.63 | 35
1694498875 | 2019-07-08 06:00 | 236.33 | 0.12 | 17 | 85876 | 0.58 | 27
1694498875 | 2019-07-08 05:00 | 221.7 | 0.31 | 0 | 85859 | 0.58 | 34
1694498875 | 2019-07-08 04:00 | 221.7 | 0.31 | 42 | 85859 | 0.58 | 34
1694498875 | 2019-07-08 03:00 | 221.6 | 0.3 | 41 | 85817 | 0.59 | 34
1694498875 | 2019-07-08 02:00 | 221.48 | 0.3 | 41 | 85776 | 0.58 | 35
1694498875 | 2019-07-08 01:00 | 221.76 | 0.3 | 42 | 85735 | 0.59 | 36
1694498875 | 2019-07-08 | 221.94 | 0.3 | 41 | 85693 | 0.58 | 37
1694498875 | 2019-07-07 23:00 | 221.66 | 0.3 | 41 | 85652 | 0.58 | 37
1694498875 | 2019-07-07 22:00 | 221.81 | 0.3 | 41 | 85611 | 0.58 | 37
1694498875 | 2019-07-07 21:00 | 221.95 | 0.3 | 40 | 85570 | 0.58 | 37
1694498875 | 2019-07-07 20:00 | 222.12 | 0.3 | 41 | 85530 | 0.58 | 39
1694498875 | 2019-07-07 19:00 | 222.37 | 0.31 | 42 | 85489 | 0.58 | 40
1694498875 | 2019-07-07 18:00 | 222.94 | 0.34 | 50 | 85447 | 0.62 | 40
1694498875 | 2019-07-07 17:00 | 226.63 | 0.37 | 55 | 85397 | 0.65 | 33
1694498875 | 2019-07-07 16:00 | 236.98 | 0.15 | 0 | 85342 | 0.65 | 43
1694498875 | 2019-07-07 14:00 | 241.81 | 0.11 | 12 | 85317 | 0.38 | 44
1694498875 | 2019-07-07 13:00 | 237.46 | 0.09 | 10 | 85305 | 0.39 | 44
1694498875 | 2019-07-07 12:00 | 240.19 | 0.11 | 13 | 85295 | 0.47 | 43
1694498875 | 2019-07-07 11:00 | 240.01 | 0.12 | 14 | 85282 | 0.47 | 43
1694498875 | 2019-07-07 10:00 | 236.03 | 0.08 | 7 | 85268 | 0.33 | 41
1694498875 | 2019-07-07 09:00 | 239.03 | 0.09 | 7 | 85261 | 0.32 | 40
1694498875 | 2019-07-07 08:00 | 239.48 | 0.13 | 15 | 85254 | 0.37 | 37
1694498875 | 2019-07-07 07:00 | 236.47 | 0.33 | 48 | 85239 | 0.6 | 34
1694498875 | 2019-07-07 06:00 | 230.33 | 0.32 | 44 | 85191 | 0.59 | 27
1694498875 | 2019-07-07 05:00 | 219.7 | 1.49 | 37 | 85147 | 0.56 | 33
1694498875 | 2019-07-07 04:00 | 219.7 | 1.49 | 191 | 85110 | 0.56 | 33
1694498875 | 2019-07-07 03:00 | 219.16 | 1.48 | 191 | 84919 | 0.56 | 33
1694498875 | 2019-07-07 02:00 | 219.37 | 1.48 | 190 | 84728 | 0.56 | 34
1694498875 | 2019-07-07 01:00 | 219.1 | 1.48 | 189 | 84538 | 0.56 | 33
1694498875 | 2019-07-07 | 219.1 | 1.48 | 190 | 84349 | 0.56 | 34
1694498875 | 2019-07-06 23:00 | 219.46 | 1.49 | 190 | 84159 | 0.56 | 35
1694498875 | 2019-07-06 22:00 | 220.09 | 1.49 | 192 | 83969 | 0.56 | 36
1694498875 | 2019-07-06 21:00 | 220.27 | 1.5 | 195 | 83777 | 0.57 | 37
1694498875 | 2019-07-06 20:00 | 221.27 | 1.52 | 198 | 83582 | 0.57 | 38
1694498875 | 2019-07-06 19:00 | 221.34 | 1.52 | 199 | 83384 | 0.57 | 38
1694498875 | 2019-07-06 18:00 | 217.62 | 1.49 | 199 | 83185 | 0.59 | 38
1694498875 | 2019-07-06 17:00 | 223.8 | 1.6 | 184 | 82986 | 0.59 | 32
1694498875 | 2019-07-06 16:00 | 235.72 | 1.53 | 4 | 82802 | 0.6 | 43
1694498875 | 2019-07-06 14:00 | 241.41 | 0.07 | 10 | 82578 | 0.56 | 44
1694498875 | 2019-07-06 13:00 | 238.8 | 0.64 | 83 | 82568 | 0.53 | 45
1694498875 | 2019-07-06 12:00 | 240.44 | 0.64 | 84 | 82485 | 0.52 | 44
1694498875 | 2019-07-06 11:00 | 241.68 | 0.65 | 87 | 82401 | 0.52 | 43
1694498875 | 2019-07-06 10:00 | 238.65 | 0.64 | 83 | 82314 | 0.52 | 42
1694498875 | 2019-07-06 09:00 | 239.7 | 0.64 | 84 | 82231 | 0.52 | 40
1694498875 | 2019-07-06 08:00 | 235.88 | 0.62 | 81 | 82147 | 0.53 | 38
1694498875 | 2019-07-06 07:00 | 233.87 | 0.61 | 78 | 82066 | 0.53 | 35
1694498875 | 2019-07-06 06:00 | 230.06 | 0.6 | 72 | 81988 | 0.53 | 26
1694498875 | 2019-07-06 05:00 | 222.73 | 0.21 | 0 | 81916 | 0.57 | 33
1694498875 | 2019-07-06 03:00 | 222.1 | 0.21 | 27 | 81888 | 0.57 | 33
1694498875 | 2019-07-06 02:00 | 222.16 | 0.21 | 28 | 81861 | 0.57 | 33
1694498875 | 2019-07-06 01:00 | 221.86 | 0.21 | 28 | 81833 | 0.57 | 34
1694498875 | 2019-07-06 | 221.85 | 0.21 | 27 | 81805 | 0.58 | 35
1694498875 | 2019-07-05 23:00 | 222.12 | 0.2 | 27 | 81778 | 0.57 | 36
1694498875 | 2019-07-05 22:00 | 222.11 | 0.21 | 28 | 81751 | 0.57 | 37
1694498875 | 2019-07-05 21:00 | 222.62 | 0.2 | 27 | 81723 | 0.57 | 38
1694498875 | 2019-07-05 20:00 | 222.82 | 0.21 | 27 | 81696 | 0.56 | 39
1694498875 | 2019-07-05 19:00 | 223.05 | 0.22 | 29 | 81669 | 0.57 | 40
1694498875 | 2019-07-05 18:00 | 223.63 | 0.22 | 30 | 81640 | 0.57 | 41
1694498875 | 2019-07-05 17:00 | 229.77 | 0.21 | 28 | 81610 | 0.59 | 35
1694498875 | 2019-07-05 16:00 | 240.6 | 0 | 0 | 81582 | 0.1 | 45
1694498875 | 2019-07-05 14:00 | 231.57 | 0 | 0 | 81581 | 0.04 | 46
1694498875 | 2019-07-05 13:00 | 236.82 | 0 | 1 | 81581 | 0.03 | 45
1694498875 | 2019-07-05 12:00 | 231.3 | 0 | 0 | 81580 | 0.03 | 44
1694498875 | 2019-07-05 11:00 | 235.86 | 0.06 | 8 | 81580 | 0.54 | 43
1694498875 | 2019-07-05 10:00 | 238.51 | 0.09 | 13 | 81572 | 0.59 | 42
1694498875 | 2019-07-05 09:00 | 239.89 | 0.13 | 20 | 81559 | 0.58 | 39
1694498875 | 2019-07-05 08:00 | 230.54 | 0.1 | 15 | 81539 | 0.56 | 36
1694498875 | 2019-07-05 07:00 | 234.41 | 0.06 | 10 | 81524 | 0.68 | 34
1694498875 | 2019-07-05 06:00 | 230.68 | 0.07 | 10 | 81514 | 0.65 | 25
1694498875 | 2019-07-05 05:00 | 218.53 | 1.59 | 2 | 81504 | 0.62 | 31
1694498875 | 2019-07-05 04:00 | 218.53 | 1.59 | 223 | 81502 | 0.62 | 31
1694498875 | 2019-07-05 03:00 | 218.63 | 1.6 | 227 | 81279 | 0.62 | 32
1694498875 | 2019-07-05 02:00 | 217.84 | 1.6 | 224 | 81052 | 0.62 | 31
1694498875 | 2019-07-05 01:00 | 218.24 | 1.6 | 226 | 80828 | 0.62 | 32
1694498875 | 2019-07-05 | 218.65 | 1.6 | 227 | 80602 | 0.63 | 34
1694498875 | 2019-07-04 23:00 | 217.74 | 1.59 | 225 | 80375 | 0.63 | 35
1694498875 | 2019-07-04 22:00 | 218.65 | 1.6 | 227 | 80150 | 0.63 | 34
1694498875 | 2019-07-04 21:00 | 218.47 | 1.6 | 226 | 79923 | 0.62 | 34
1694498875 | 2019-07-04 20:00 | 218.75 | 1.61 | 228 | 79697 | 0.62 | 35
1694498875 | 2019-07-04 19:00 | 220.64 | 1.63 | 232 | 79469 | 0.62 | 36
1694498875 | 2019-07-04 18:00 | 221.13 | 1.65 | 236 | 79237 | 0.63 | 37
1694498875 | 2019-07-04 17:00 | 223.23 | 1.68 | 241 | 79001 | 0.63 | 32
1694498875 | 2019-07-04 16:00 | 238.5 | 1.29 | 7 | 78760 | 0.61 | 43
1694498875 | 2019-07-04 14:00 | 241.1 | 0.23 | 31 | 78555 | 0.58 | 41
1694498875 | 2019-07-04 13:00 | 227.66 | 0.24 | 28 | 78524 | 0.58 | 39
1694498875 | 2019-07-04 12:00 | 216.79 | 0.25 | 29 | 78496 | 0.61 | 38
1694498875 | 2019-07-04 11:00 | 225.91 | 0.26 | 38 | 78467 | 0.62 | 41
1694498875 | 2019-07-04 10:00 | 234.24 | 0.24 | 37 | 78429 | 0.61 | 40
1694498875 | 2019-07-04 09:00 | 233.98 | 0.21 | 30 | 78392 | 0.57 | 39
1694498875 | 2019-07-04 08:00 | 236.54 | 0.22 | 32 | 78362 | 0.6 | 37
1694498875 | 2019-07-04 07:00 | 232.68 | 0.41 | 60 | 78330 | 0.61 | 35
1694498875 | 2019-07-04 06:00 | 229.27 | 1.36 | 200 | 78270 | 0.62 | 28
1694498875 | 2019-07-04 04:00 | 218.77 | 1.27 | 177 | 78070 | 0.61 | 35
1694498875 | 2019-07-04 03:00 | 218.77 | 1.27 | 177 | 77893 | 0.61 | 35
1694498875 | 2019-07-04 02:00 | 219.38 | 1.28 | 179 | 77716 | 0.61 | 35
1694498875 | 2019-07-04 01:00 | 218.96 | 1.27 | 177 | 77537 | 0.61 | 35
1694498875 | 2019-07-04 | 218.5 | 1.27 | 177 | 77360 | 0.62 | 37
1694498875 | 2019-07-03 23:00 | 219.41 | 1.28 | 180 | 77183 | 0.62 | 38
1694498875 | 2019-07-03 22:00 | 219.6 | 1.29 | 181 | 77003 | 0.62 | 39
1694498875 | 2019-07-03 21:00 | 219.44 | 1.28 | 179 | 76822 | 0.62 | 39
1694498875 | 2019-07-03 20:00 | 219.52 | 1.28 | 178 | 76643 | 0.61 | 40
1694498875 | 2019-07-03 19:00 | 220.72 | 1.29 | 179 | 76465 | 0.61 | 40
1694498875 | 2019-07-03 18:00 | 222.35 | 1.31 | 183 | 76286 | 0.61 | 41
1694498875 | 2019-07-03 17:00 | 224.55 | 1.33 | 182 | 76103 | 0.6 | 35
1694498875 | 2019-07-03 16:00 | 233.12 | 0.4 | 1 | 75921 | 0.64 | 44
1694498875 | 2019-07-03 15:00 | 233.12 | 0.4 | 62 | 75920 | 0.64 | 44
1694498875 | 2019-07-03 14:00 | 240.04 | 0.36 | 51 | 75858 | 0.56 | 46
1694498875 | 2019-07-03 13:00 | 235.47 | 0.31 | 41 | 75807 | 0.53 | 45
1694498875 | 2019-07-03 12:00 | 236.66 | 0.24 | 31 | 75766 | 0.56 | 41
1694498875 | 2019-07-03 11:00 | 236.31 | 0.23 | 36 | 75735 | 0.65 | 42
1694498875 | 2019-07-03 10:00 | 231.82 | 0.33 | 51 | 75699 | 0.65 | 42
1694498875 | 2019-07-03 09:00 | 231.07 | 0.43 | 74 | 75648 | 0.71 | 38
1694498875 | 2019-07-03 08:00 | 227.34 | 0.44 | 75 | 75574 | 0.72 | 34
1694498875 | 2019-07-03 07:00 | 224 | 0.28 | 43 | 75499 | 0.63 | 34
1694498875 | 2019-07-03 06:00 | 227.98 | 0.26 | 33 | 75456 | 0.57 | 26
1694498875 | 2019-07-03 05:00 | 221.68 | 0.23 | 1 | 75423 | 0.51 | 33
1694498875 | 2019-07-03 03:00 | 221.09 | 0.23 | 27 | 75394 | 0.52 | 33
1694498875 | 2019-07-03 02:00 | 221.66 | 0.23 | 28 | 75367 | 0.52 | 35
1694498875 | 2019-07-03 01:00 | 221.57 | 0.23 | 28 | 75339 | 0.52 | 35
1694498875 | 2019-07-03 | 221.06 | 0.23 | 27 | 75311 | 0.52 | 36
1694498875 | 2019-07-02 23:00 | 221.76 | 0.23 | 27 | 75284 | 0.52 | 37
1694498875 | 2019-07-02 22:00 | 221.05 | 0.23 | 28 | 75257 | 0.52 | 37
1694498875 | 2019-07-02 21:00 | 220.84 | 0.23 | 27 | 75229 | 0.52 | 37
1694498875 | 2019-07-02 20:00 | 221.67 | 0.23 | 27 | 75202 | 0.52 | 38
1694498875 | 2019-07-02 19:00 | 221.99 | 0.23 | 27 | 75175 | 0.52 | 39
1694498875 | 2019-07-02 18:00 | 223.88 | 0.23 | 28 | 75148 | 0.51 | 40
1694498875 | 2019-07-02 17:00 | 226.3 | 0.19 | 22 | 75120 | 0.49 | 35
1694498875 | 2019-07-02 16:00 | 229.14 | 0.25 | 0 | 75098 | 0.57 | 45
1694498875 | 2019-07-02 15:00 | 229.14 | 0.25 | 35 | 75098 | 0.57 | 45
1694498875 | 2019-07-02 14:00 | 230.29 | 0.26 | 37 | 75063 | 0.59 | 46
1694498875 | 2019-07-02 13:00 | 230.06 | 0.28 | 42 | 75026 | 0.62 | 46
1694498875 | 2019-07-02 12:00 | 232.75 | 0.21 | 30 | 74984 | 0.56 | 45
1694498875 | 2019-07-02 11:00 | 232.87 | 0.53 | 83 | 74954 | 0.65 | 43
1694498875 | 2019-07-02 10:00 | 233.75 | 0.42 | 68 | 74871 | 0.63 | 38
1694498875 | 2019-07-02 09:00 | 232.36 | 0.3 | 43 | 74803 | 0.59 | 37
1694498875 | 2019-07-02 08:00 | 227.45 | 0.31 | 47 | 74760 | 0.63 | 35
1694498875 | 2019-07-02 07:00 | 224.43 | 0.28 | 41 | 74713 | 0.61 | 31
1694498875 | 2019-07-02 06:00 | 225 | 0.33 | 24 | 74672 | 0.63 | 18
1694498875 | 2019-07-02 05:00 | 219.7 | 0.33 | 3 | 74648 | 0.55 | 31
1694498875 | 2019-07-02 03:00 | 219.8 | 0.33 | 41 | 74603 | 0.55 | 31
1694498875 | 2019-07-02 02:00 | 219.54 | 0.33 | 42 | 74562 | 0.55 | 31
1694498875 | 2019-07-02 01:00 | 220 | 0.33 | 42 | 74520 | 0.55 | 31
1694498875 | 2019-07-02 | 219.38 | 0.33 | 41 | 74478 | 0.55 | 33
1694498875 | 2019-07-01 23:00 | 219.31 | 0.33 | 41 | 74437 | 0.55 | 34
1694498875 | 2019-07-01 22:00 | 219.1 | 0.33 | 41 | 74396 | 0.55 | 35
1694498875 | 2019-07-01 21:00 | 219.48 | 0.33 | 41 | 74355 | 0.55 | 36
1694498875 | 2019-07-01 20:00 | 219.57 | 0.33 | 41 | 74314 | 0.55 | 36
1694498875 | 2019-07-01 19:00 | 221.34 | 0.32 | 40 | 74273 | 0.55 | 36
1694498875 | 2019-07-01 18:00 | 222.93 | 0.32 | 41 | 74233 | 0.54 | 37
1694498875 | 2019-07-01 17:00 | 227.25 | 0.25 | 29 | 74192 | 0.54 | 32
1694498875 | 2019-07-01 16:00 | 227.56 | 0.23 | 2 | 74163 | 0.53 | 43
1694498875 | 2019-07-01 14:00 | 212.79 | 0.24 | 29 | 74133 | 0.54 | 44
1694498875 | 2019-07-01 13:00 | 228.57 | 0.23 | 29 | 74104 | 0.53 | 44
1694498875 | 2019-07-01 12:00 | 227.01 | 0.24 | 31 | 74075 | 0.54 | 43
1694498875 | 2019-07-01 11:00 | 229.14 | 0.25 | 34 | 74044 | 0.56 | 41
1694498875 | 2019-07-01 10:00 | 220.89 | 0.27 | 36 | 74010 | 0.57 | 40
1694498875 | 2019-07-01 09:00 | 226.13 | 0.28 | 37 | 73974 | 0.57 | 38
1694498875 | 2019-07-01 08:00 | 223.67 | 0.26 | 35 | 73937 | 0.59 | 35
1694498875 | 2019-07-01 07:00 | 228.83 | 0.26 | 36 | 73902 | 0.57 | 34
1694498875 | 2019-07-01 06:00 | 226.97 | 0.25 | 32 | 73866 | 0.55 | 32
1694498875 | 2019-07-01 05:00 | 223.29 | 0.3 | 38 | 73834 | 0.55 | 31
1694498875 | 2019-07-01 04:00 | 217.21 | 0.33 | 42 | 73796 | 0.55 | 32
1694498875 | 2019-07-01 03:00 | 216.48 | 0.33 | 41 | 73754 | 0.55 | 32
1694498875 | 2019-07-01 02:00 | 216.45 | 0.33 | 42 | 73713 | 0.55 | 33
1694498875 | 2019-07-01 01:00 | 217.43 | 0.34 | 41 | 73671 | 0.55 | 32
1694498875 | 2019-07-01 | 221.11 | 0.34 | 44 | 73630 | 0.55 | 33